Page 17

# Text boxes

How come no one even bothers to tell anyone how to install DSL-Pacifiers Surge Suppressors for Burglar alarm panels much less tell you how to ground them?  Where is the value added service?  You can rely on Stormin Protection to help you with all your Security Systems Power Quality Installations.

The drawing above is designed for in-line series RJ31X DSL- Pacifier surge protection.  Unlike what you are using, this device when blown, opens.  Other devices will short to ground, (no filtering).  Other name brand products that short will have a piece of metal straight through your protection and into your panel for that big bolt of lightning to travel right on through.

To ground the surge suppressor, we by-pass the panel with the ground wire and tie it to the (AC) R-15 center screw ground.  The single outlet surge suppressor prevents the feed back loop transit surge from going back towards into the panel and also prevents arcing across the coils on the tap-transformer. Your tap-transformer or power supply has a 12-volt low voltage wire going to the panel.  Tie three knots in the power wire closest to the panel.  On the telephone wire between the panel and the RJ31X surge DSL-suppressor; tie three to seven knots in the telephone wire.  What we have done is raised the impedance of the panel and reduce the pathway of least resistance to ground.  Does your panel need to be grounded?  I don’t think so even if NEC calls for it because your surge suppression device (RJ31X) became the extension to your PC board, and now your panel is grounded, safely and indirectly.  There is no since in creating a ground loop in to your panel with no protection from the case groundside. Keeping your protection devices at least six inches away from your panel.  This will insure that no transit surges, lightning induce trauma can reach your panel.   You should expect from this design that your false alarms will drop dramatically during thunder and lighting seasons.   The design of the RJ31X is also a filter and will filter out noises.   If you have any questions please feel free to call me. 888-471-1038

Burglar Alarm

Panel