# Text boxes

Pinellas Park, FL.  33782

Toll Free: 1-888-471-1038

Phone: 727-548-5418

Fax: 727-548-0867

Stormin Protection Products Inc.

10749 63rd Way N.

Stormins CCTV BNC V coaxial video line surge suppressor incorporates state-of the-art technology and provides multiple elements of protection for your sensitive video equipment.  Tested to ANSI/IEEE B ringwave standards that exceed normal UL 497 B testing standards by 90 times.  Unlike other video line surge suppressors, Stormins CCTV BNC V coaxial video line surge suppressor does not employ MOV technology and will not cause high insertion loss on your coax lines.  Stormins CCTV BNC V coaxial video line is self restoring after each surge with ratings.  Stormins CCTV BNC V coaxial video protector does not have a ground wire, or lug that will promote ground loops into your camara, monitor or multiplexer. Stormins CCTV BNC V coaxial protector is design to obsorb the surge between the shield and line.

Warranty

Stormin’s surge suppressors have a lifetime Product Warranty.  Please see warranty statement for complete product warranty information.

SPECIFICATIONS OPERATING

Maximum Operating Voltage.......

Typical Leakage Current.............

Maximum Insertion Loss............

Operation Temperatures.............

Connectors...................

7.5 Volts

<5u amps

< 1 dB

0 to 85 C

BNC

Female

Also available Female & Male ext.

SPECIFICATIONS ELECTRONICS

Maximum Surge Current (8 x 20 us)..........

Maximum Surge Voltage (1.2 x 50 us)........

Capacitance..............................................

Clamping Voltage.....................................

Clamping Response Time..........................

Current...................................................

Voltage....................................................

Pass Volt Tested ANSI/IEEE B3 Impulse...........

Power Dissipation (8 x 20 us)....................

500 Amps Total

6,000 Volts

<1.20 pf

7.5 Volts

<5 nanoseconds

Non Load Bearing

Voltage Sensitive

<15 Volts Peak

100,000 Volt Amps

DISTRIBUTED BY:

Page 36