Page 26

# Text boxes

Stormin Protection Products Inc.

10749 63rd Way N.

Pinellas Park, FL.  33782

Toll Free: 1-888-471-1038

Phone: 727-548-5418

Fax: 727-548-0867

SPECIFICATIONS OPERATING

Maximum Operating Voltage.......

Typical Leakage Current.............

Maximum Insertion Loss............

Operation Temperatures.............

Connectors...................

7.5 Volts

<5u amps

< 1 dB

0 to 85 C

BNC

Female

Also available Female & Male ext.

SPECIFICATIONS ELECTRONICS

Maximum Surge Current (8 x 20 us)..........

Maximum Surge Voltage (1.2 x 50 us)........

Capacitance..............................................

Clamping Voltage.....................................

Clamping Response Time..........................

Current...................................................

Voltage....................................................

Pass Volt Tested ANSI/IEEE B3 Impulse...........

Power Dissipation (8 x 20 us)....................

500 Amps Total

6,000 Volts

<1.20 pf

7.5 Volts

<5 nanoseconds

Non Load Bearing

Voltage Sensitive

<15 Volts Peak

100,000 Volt Amps