# Text boxes

Stormin Protection Products Inc.

10749 63rd Way N.

Pinellas Park, FL.  33782

Toll Free: 1-888-471-1038

Phone: 727-548-5418

Fax: 727-548-0867

This is a Gas Tube lightning Arrestor, your first level of primary protection.  At 6000 Volts at 3000 Amps impulses a let through 132 volts let through on a 90 Volt Gas Tube.

Maximum Operating Voltage				Upto 90 Volts

Typical Leakage Current				<5u Amps

Maximum Data Rate					10 Mb  for DSL

Operation Temperature				0 to 85 c

Connectors						F connectors Male and Female

Lines protected					1 coax for RG 6 or RG 59

Dimensions for 1 unit					1 1/2"L x 3/4"T x 3/4"W

Key Tronix Test

6000 Volts @ 3000 Amps				138 volts let through

Phone: 888-471-1038

http://www.storminprotection.com